## General Instructions
Fill in:
Name | Organization
Provide your feedback on the list of data and metadata (click on the links below)
GIS Input Data for Geospatial Electrification Analysis
Non-GIS Input Data for Geospatial Electrification Analysis
Main Output Data of Geospatial Electrification Analysis
-----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------
The World Bank has partnered with the World Resources Institute, KTH Royal Institute of Technology, Development Seed, the University of Cambridge , ABB and Google to develop the Global Electrification Platform (GEP). The GEP allows users to analyze least-cost electrification plans using various levers, filters, and related geospatial data with a focus on improving investment outlooks on expanding access to electricity in unserved areas; see attached flyer for more information. Here is a link to the beta: http://gep-explorer.surge.sh/ Kindly do not distribute further as this is work in progress.
An important function of the platform is the ability to host electrification data available in other databases and/or platforms and analytical outputs from various geospatial electrification tools. A goal of the GEP is to spur data integration and standardization across energy modelling tools, as increasing efforts in support to electricity access – from Government, Development Partners, and the private sector – require easily accessible information and scenario generators. The energy access agenda has access to an increasing wealth of data, but fragmentation is hampering the impact for development. The GEP is connected to EnergyData.info, has APIs with relevant datasets, and incorporates information collected in-country by the World Bank and other agencies.
As part of the GEP development, we have consolidated a list of input and output data for our electrification analysis. As input data are common between modelling tools, agreeing on data formats and metadata is crucial not only to ensure interoperability but also to inform expensive data collection efforts in disparate electrification efforts.
We would therefore like to kindly request your feedback on the list of data and metadata (see below). Our goal is to determine what data are common between our modeling efforts, and to develop shared standards around those data. Once we receive inputs from relevant technical institutes, we will share a consolidated list with you and propose a formulation of data standards for your further inputs. Our end goal is to simplify and standardize data collection efforts, and to develop standards on modelling output that allow for easier comparisons, and eventual incorporation into the GEP.

## Column Descriptions
Column Descriptions for Required Metadata Fields
Column | Description | HXL | Comments
# | Dataset ID number | #id
Dataset Name | Public name of the dataset -Short and understandable | #name
Author | - Source organizations - If data comes from a paper, list all of their affiliated institutions - Separate by / with no space in between | #author
Learn More Link | Link to data description page from source organization | #link
Download from Source | - Data download page (sometimes the same as learn more link) - webpage not the file link to allow users to specify download options | #download_link
Category | Infrastructure Energy Resources Socio-economic Demographics? | #category
Description | Descriptions should generally include: - Data name - Source organization - Objective/function - Spatial coverage - Temporal coverage - Resolution (if vector: include national/subnational/etc.) - Methodology (with source data if necessary) - Description is not too complicated for non-experts - If there are lists, they are denoted by 1) 2) 3) etc. (not bullet points or asterisks), separated by a semicolon (;), and in the same paragraph | #description
Cautions | - Known use limitations/cautions - Limitation on methodology from source - Inconsistency (e.g. input) - Limited geographic coverage - Limited content coverage (ex: protected areas only looks at certain types of protected areas) | #limitations
Supplementary Info | Any other comments needed -How the data was included in the models (what role it plays)
Geographic Coverage | - Global (great than -60-60 latitude, 150+ countries) - Raster: Latitude/longitude range (#N-#S, #E-#W) - Select countries (or list all if less than 10) - Name of affiliations/groups (e.g. OECD countries) | #extent | There should be an additional field describing the bounding box - minx, miny, maxx, maxy
Data Type | Vector (shapefile/polygons/lines/pts) Tabular (csv) Raster | #data_type
Spatial Extent/Resolution | - Vectors: National/Subnational/etc. (If subnational, indicate admin level) - Raster: # unit (Ex: 250 m or 30 arc seconds or 0.1 degrees) Unless grid cells are not same length on both sides. - This (unit) should be consistent with what is written in other parts of metadata. - All others: leave blank | #resolution
CRS of Original File | EPSG of original file | #epsg
Date of Publication | Date the data/paper was published - if available | #date_publication
Date of Content | - Temporal coverage of content - Analytical results: Leave blank if no date can be associated with the data - List complete period of data available | #date_content
Frequency of Updates | - Annual/Weekly/Monthly... - Every x years/months/days - Varies: if updates are irregular/when new information becomes available -Leave blank if no known updates | #frequency
Summary of License | - Standard License name (specified by source): https://creativecommons.org/licenses/ (Write out "Creative Commons Attribution 4.0" - make sure it says Creative Commons and then exactly what the CC BY 4.0 site says) - Exact text (explicitly required) - Source open license (when source allows for open use of data - specific license unclear) Ex. World Bank Open Data License - Attribution required: free to use but require attribution - Restrictions apply | #license
Link to License | - Standard License name: link to explain standard license - Others: link to source where license related issues are listed
Citation |  | #citation

## GIS Input Data
GIS Input Data for Geospatial Electrification Analysis | [26 empty] | 2. Provide your feedback on the GIS Input data & the list of metadata fields proposed
Instructions
1. Review the GIS input data below, the standards (data type, units, resolution) and the metadata used to describe each dataset
2. Provide your feedback on the GIS Input data & the list of metadata fields proposed
3. Add other GIS input data that are used for Geospatial Electrification Analysis
|  | Standards |  |  | Metadata | [21 empty] | Do you use or collect this dataset for geospatial electrification analysis? | Does this metadata definition make sense? | If no, can you suggest data type, units, resolution for this dataset? | Can you propose other or additonal metadata fields?
# | Dataset | Data Type | Units | Spatial Extent/Resolution | Description | Why we are using this dataset | Author | Year | Availability | Cleaned/Processed? | Responsible Party | Learn More Link | Download from Source | Category | Cautions | Supplementary Info | Geographic Coverage | CRS of Original File | Date of Publication | Date of Content | Frequency of Updates | Summary of License (Open, Closed, Limited) | License Type (if available) | Link to License | Citation | Tags
Infrastructure
1 | High Voltage (HV) lines | Vector | kV | National | Spatial distribution of (Existing & Planned) the transmission network. HV capacity definition depends on the country but usually refers to lines above 69 kV. |  | Open Street Map/The World Bank | 2017 | Available |  | The World Bank | https://energydata.info/dataset/africa-electricity-transmission-and-distribution-2017 | http://africagrid.energydata.info/ | Transmission and distribution |  | This dataset has been updated with transmission lines for the MENA region. This is the most complete and up-to-date open map of Africa's electricity grid network. This dataset serves as an updated and improved replacement for the Africa Infrastructure Country Diagnostic (AICD) data that was published in 2007. Coverage This dataset includes planned and existing grid lines for all continental African countries and Madagascar, as well as the Middle East region. The lines range in voltage from sub-kV to 700 kV EHV lines, though there is a very large variation in the completeness of data by country. An interactive tool has been created for exploring this data, the Africa Electricity Grids Explorer. Sources The primary sources for this dataset are as follows: Africa Infrastructure Country Diagnostic (AICD) OSM © OpenStreetMap contributors For MENA: Arab Union of Electricity and country utilities. For West Africa: West African Power Pool (WAPP) GIS database World Bank projects archive and IBRD maps There were many additional sources for specific countries and areas. This information is contained in the files of this dataset, and can also be found by browsing the individual country datasets, which contain more extensive information. | Africa | EPSG:4326 - WGS 84 - Geographic | March 24, 2017, 7:24 PM (UTC+01:00) | January 10, 2019, 12:06 PM (UTC+01:00) | yearly | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ |  | Transmission; energy access; grid
2 | Medium Voltage (MV) lines | Vector | kV | National | Spatial distribution of the medium voltage transmission network. What is defined as medium voltage depends on the country but usually refers to lines between 11-69 kV. |  |  |  | Potentially available
3 | Substations & Transformers | Vector | kVA | National | The location of currently available substations and transformers. |  |  |  | Partially available
4 | Road Network | Vector | - | National | Existing & planned road infrastructure. The road network that is to be used has to include major roads such as highways, primary and secondary roads. There is no need to include smaller desolate roads or trails. |  | OSM (through Mapzen) | 2018 | Available | Processed | Mapzen | https://www.mapzen.com/blog/osmlr-2nd-technical-preview/ |  | Transport | OSMLR provides a stable linear-referencing system atop the ever-changing network of roadways in OpenStreetMap. It’s used by the Open Traffic platform to associate statistics like speeds and vehicle counts with roadway segments. | OSMLR segments are available as geographic tiles at three levels of roadway hierarchy: The highway level (0) includes drivable road segments with OSM highway tags: motorway, motorway_link, trunk, trunk_link, primary, and primary_link. The arterial level (1) includes drivable road segments with OSM highway tags: secondary, secondary_link, tertiary, and tertiary_link. The local level (2) includes drivable road segments with OSM highway tags: unclassified, unclassified_link, residential, and residential_link. | Global | EPSG:4326 - WGS 84 - Geographic |  |  |  | Open | NA |  |  | Roads; Transport
5 | Power Plants (Existing & Planned) | Vector | kW | National | The locations of existing and planned power plants. It is also important that the dataset includes attributes regarding each plant’s minimum capacity. |  |  | 2018 | Available |  | World Resources Institute | http://datasets.wri.org/dataset/globalpowerplantdatabase |  | Climate; Energy |  | The Global Power Plant Database is a comprehensive, open source database of power plants around the world. It centralizes power plant data to make it easier to navigate, compare and draw insights for one’s own analysis. Each power plant is geolocated and entries contain information on plant capacity, generation, ownership, and fuel type. As of June 2018, the database includes around 28,500 power plants from 164 countries. It will be continuously updated as data becomes available. The most recent release of the Global Power Plant Database 1.1 includes the addition of two countries (China and Fiji), over 3,000 power plants, and nearly 1300 gigawatts of power capacity. We highly recommend using version 1.1, available online as of June 2018. | Global |  | 2018-06-11 |  | Every 4-6 months | Open | Creative Commons Attribution 4.0 International License. Full license text available at Creative Commons Attribution 4.0 | https://www.wri.org/publications/permissions-licensing | Global Energy Observatory, Google, KTH Royal Institute of Technology in Stockholm, Enipedia, World Resources Institute. 2018. Global Power Plant Database. Published on Resource Watch and Google Earth Engine; http://resourcewatch.org/ https://earthengine.google.com/ | Climate; Energy; Power Plants; Power Sector
Energy Resources
6 | Global Horizontal Irradiation (GHI) | Raster | kWh/m2/year | 0.0083 deg | Provide information about the Global Horizontal Irradiation (kWh/m2/year) over an area. |  | SOLARGIS | 2017 | Available | Processed | Energy Sector Management Assistance Program (ESMAP) | https://globalsolaratlas.info/downloads?c=22.755921,-17.753906,2 |  | Energy Resources |  | The Atlas covers areas between latitudes 60°N to 45°S. Areas north and south of these coordinates are not covered because the incline of the satellite imagery prohibits an accurate assessment of cloud cover. The primary grid resolution of solar resource data is approximately 3 to 7 km (depending on the latitude), which is enhanced by downscaling to a nominal resolution of approximately 1 km. The spatial resolution of other data parameters has been also harmonized to 1 km. | Global | EPSG:4326 - WGS 84 - Geographic | 2017-01-01 |  |  | Open | Creative Commons Attribution license (CC BY 3.0 IGO) | https://creativecommons.org/licenses/by/3.0/igo/ | The following attribution is requested: "Solar resource data obtained from the Global Solar Atlas, owned by the World Bank Group and provided by Solargis." | Solar; GHI; PV
7 | Small scale Hydropower potential | Vector | - | National | Points showing potential mini/small hydropower potential. Dataset developed by KTH dESA including environmental, social and topological restrictions and provides power availability in each identified point. Other sources can be used but should also provide such information to reassure the proper model function. This information is regarding the location of the plants, their power output, the head and the discharge connected to each point. |  | Alexandros Korkovelos | 2017 | Available |  | KTH Royal Institute of Technology | https://energydata.info/dataset/small-and-mini-hydropower-potential-in-sub-saharan-africa |  | Energy Resources |  |  | Sub-Saharan Africa | EPSG:4326 - WGS 84 - Geographic | June 19, 2017, 8:35 PM (UTC+02:00) |  |  | Open | Creative Commons Attribution 4.0 International License. Full license text available at Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ | Korkovelos, A.; Mentis, D.; Siyal, S.H.; Arderne, C.; Rogner, H.; Bazilian, M.; Howells, M.; Beck, H.; De Roo, A. A Geospatial Assessment of Small-Scale Hydropower Potential in Sub-Saharan Africa. Energies 2018, 11, 3100. | Small scale hydro; GIS; Sub-Saharan Africa
8 | Wind speed or Power Density | Raster | m/s or W/m2 | 0.01 deg | Provide information about the wind velocity (m/sec) over an area. The wind power density map should provide information about the power density (W/m2) at a clearly stated altitude. |  | Technical University of Denmark (“DTU”) | 2018 | Available |  | Energy Sector Management Assistance Program (ESMAP) | https://globalwindatlas.info/downloads |  | Energy Resources |  | Vesrion 2.3. Wind resource mapping at 50, 100 and 200 m a.g.l. | Global | EPSG:4326 - WGS 84 - Geographic | 2018-11-01 |  |  | Open | Creative Commons Attribution 4.0 International License. Full license text available at Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ | By using the Works, you agree to provide attribution in accordance with the licensing conditions outlined above. To recognize the full partnership involved in developing the GWA App and Works, users are requested to use the following citation text: [Data/information/map obtained from the] “Global Wind Atlas 2.0, a free, web-based application developed, owned and operated by the Technical University of Denmark (DTU) in partnership with the World Bank Group, utilizing data provided by Vortex, with funding provided by the Energy Sector Management Assistance Program (ESMAP). For additional information: https://globalwindatlas.info” | Wind speed; Power density
9 | Biomass | Raster | not available | not available | Current and potentially productive agricultural activity as an indicator of agricultural residues. |  |  |  | Potentially available
Socio-economic
10 | Population clusters - distribution & density | Vector | - | National | Spatial quantification of the population for a selected area of interest (usually country or continent). |  | KTH dESA | 2019 | Available | Processed | KTH dESA |  |  | Socio-economic |  |  | Malawi | EPSG:4326 - WGS 84 - Geographic | 2019-02-01 |  | yearly | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ |  | population; clusters; settlements
11 | Administrative Boundaries | Vector | - | National | Includes information (e.g. name) of the country(s) to be modelled and delineates the boundaries of the analysis. |  | GADM | 2018 | Available |  | GADM | https://gadm.org/download_country_v3.html |  | Socio-economic |  | Version 3.6 | Global | EPSG:4326 - WGS 84 - Geographic | 2018-05-06 |  | 3-6 months | Open | The data are freely available for academic use and other non-commercial use. Redistribution, or commercial use, is not allowed without prior permission. Using the data to create maps for academic publishing is allowed. |  |  | administrative boundaries
12 | Residential demand | Raster | kWh/capita/year | 0.0083 deg | Layer that indicates electricity demand for residential sector (e.g. WRI’s perspective map) |  | KTH dESA | 2019 | Potentially available | Processed | KTH dESA |  |  | Socio-economic |  |  | Malawi | EPSG:4326 - WGS 84 - Geographic |  |  | yearly | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ |  | electricity demand; households: energy access
13 | Poverty maps | Raster or vector | % | 0.0083 deg | Poverty maps stating the headcount for the population below the poverty line. These poverty maps should be on the basis of a known administrative areas. The poverty line used should be clearly stated. If the poverty maps are available as raster maps for the studied countries it would preferable. |  | Worldpop | 2018 | Available |  |  | http://www.worldpop.org.uk/data/get_data/ |  | Socio-economic |  | DATASET: Alpha version 2008 estimates of proportion of people per grid square living in poverty, as defined by the Multidimensional Poverty Index (http://www.ophi.org.uk/policy/multidimensional-poverty-index/), and associated uncertainty metrics. UNITS: Proportion of residents living in MPI-defined poverty (poverty dataset); 95% credible interval (uncertainty dataset). MAPPING APPROACH: Bayesian model-based geostatistics in combination with high resolution gridded spatial covariates applied to GPS-located household survey data on poverty from the DHS and/or LSMS programs. | Kenya, Malawi, Nigeria, Uganda, Tanzania, Bangladesh, Pakistan | EPSG:4326 - WGS 84 - Geographic | 2013-01-01 |  |  | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ | Tatem AJ, Gething PW, Bhatt S, Weiss D and Pezzulo C (2013) Pilot high resolution poverty maps, University of Southampton/Oxford. | poverty map; GIS
14 | Income level or Energy expenditure | Vector or Raster | $/year | National | The income level or energy expenditure in an area could potentially be used for heat-maps identifying higher demand. These maps are preferably available on the basis of known administrative areas |  |  |  | Not available
15 | GDP PPP | Raster | $ | 0.0083 deg | GDP map used should be a global raster map and show the purchasing power parity. |  | Kummu Matti, Taka Maija, Guillaume Joseph H.A. | 2018 | Available |  |  | https://datadryad.org/resource/doi:10.5061/dryad.dk1j0/13 |  | Socio-economic |  | This global dataset represents the gross domestic production (GDP) of each grid cell. GDP is given in 2011 international US dollars. The data is derived from GDP per capita (PPP) which is multiplied by gridded population data HYDE 3.2 (the years of population data not available (1991-1999) were linearly interpolated at grid scale based on data from years 1990 and 2000). Dataset has global extent at 5 arc-min resolution for the 26-year period of 1990-2015. Detail description is given in a linked article and metadata is provided as an attribute in the NetCDF file itself. | Global | EPSG:4326 - WGS 84 - Geographic | 2018-02-01 |  |  | Open | Creative Commons CC0 1.0 Universal (CC0 1.0) Public Domain Dedication | http://creativecommons.org/publicdomain/zero/1.0/ | Kummu M, Taka M, Guillaume JHA (2018) Gridded global datasets for Gross Domestic Product and Human Development Index over 1990-2015. Scientific Data 5: 180004. https://doi.org/10.1038/sdata.2018.4 and Kummu M, Taka M, Guillaume JHA (2018) Data from: Gridded global datasets for Gross Domestic Product and Human Development Index over 1990-2015. Dryad Digital Repository. https://doi.org/10.5061/dryad.dk1j0 | global spatial data, gridded data, Gross Domestic Product (GDP), development indicator
16 | HDI | Raster | 0-1 | 0.083 deg | HDI map can be used in combination with GDP maps in order to assess electricity demand goals. These maps should be in raster format as HDI varies considerably within countries. |  | Kummu Matti, Taka Maija, Guillaume Joseph H.A. | 2018 | Available |  |  | https://datadryad.org/resource/doi:10.5061/dryad.dk1j0/10 |  | Socio-economic |  | HDI is a composite index of average achievement in key dimensions of human development (dimensionless indicator between 0 and 1). This index is based on method introduced 2010 and updated 2011. The subnational data for HDI were collected from multiple national-level datasets, and national-level HDI was collected from UNDP. Years with missing data were interpolated over time thin plate spines, assuming smooth trend over time. The dataset has a global extent at 5 arc-min resolution, and the annual data is available for each year over 1990-2015. HDI sub-national data covers 39 countries and 66% of global population in 2015. | Global | EPSG:4326 - WGS 84 - Geographic | 2018-02-01 |  |  | Open | Creative Commons CC0 1.0 Universal (CC0 1.0) Public Domain Dedication | http://creativecommons.org/publicdomain/zero/1.0/ | Kummu M, Taka M, Guillaume JHA (2018) Gridded global datasets for Gross Domestic Product and Human Development Index over 1990-2015. Scientific Data 5: 180004. https://doi.org/10.1038/sdata.2018.4 and Kummu M, Taka M, Guillaume JHA (2018) Data from: Gridded global datasets for Gross Domestic Product and Human Development Index over 1990-2015. Dryad Digital Repository. https://doi.org/10.5061/dryad.dk1j0 | global spatial data, gridded data, Human Development Index (HDI), development indicator
17 | Productive uses - Electricity demand for education | Vector | kWh/year | National | Locations of schools.If there are additional data on school districts (in order to know to which school the population in a certain cell is going to) or the energy demand in the schools it would be useful. |  |  |  | Not available
18 | Productive uses - Electricity demand for health | Vector | kWh/year | National | Locations of health clinics in the study area. If there are estimates of the energy demand in the health clinics this could also potentially be useful for the analysis. |  |  |  | Not available
19 | Productive uses - Electricity demand for commercial uses | Vector | kWh/year | National | Maps showing electricity demand for commercial activity (mines, stores etc.). This is an important dataset since mines tend to use large quantities of electricity. |  |  |  | Not (publicly) available
20 | Productive uses - Electricity demand for Agriculture | Raster | kWh/year | 0.0083 deg | Maps showing the productive uses of electricity within the agricultural sector or areas that can be expected to have a large amount of agricultural activity are useful when estimating the productive uses. |  |  |  | Potentially available
21 | Mobile phone coverage | Raster | 0-1 | 0.0083 deg | Indication of where the is mobile phone coverage (service); usually in binary format (1:coverage, 0: no-coverage). It can work as a proxy of locations that are electrified |  |  |  | Not (publicly) available
Other
22 | Travel time | Raster | minutes | 0.0083 deg | Visualizes spatially the travel time required to reach from any individual cell to the closest town with population more than 50,000 people. The unit of these maps should preferably be in minutes but hours is also acceptable. |  | map | 2015 | Available |  |  | https://map.ox.ac.uk/research-project/accessibility_to_cities/ |  | Transport; socio-economic |  | In the present study, we quantify and validate global accessibility to high-density urban centres at a resolution of 1×1 kilometre for 2015, as measured by travel time. The last global mapping effort to measure accessibility was for the year 2000, a time that predates both substantial investment and expansion of transportation infrastructure and an extraordinary improvement in the data quantity and quality of accessibility measures. The game-changing improvement underpinning this work is the first-ever, global-scale synthesis of two leading roads datasets – Open Street Map (OSM) data and distance-to-roads data derived from the Google roads database – which resulted in a nearly five-fold increase in the mapped road area relative to that used to produce the circa 2000 map. A major strength of the new roads data is its inclusion of minor roads (e.g., unpaved rural roads), which comprise a large proportion of roads in many low-resource settings and were largely absent or geographically inaccurate in previous roads databases. As such, the improvements in our accessibility map are most prominent in the areas where quality data are most needed for informing sustainable development policies and actions. To illustrate the far-reaching utility of our 2015 global accessibility map, we conduct exploratory analyses that enumerate geographic and wealth-based inequities in accessibility. We also show that shorter travel times to population centres in low- to middle-income countries is strongly associated with socioeconomic and health indicators (i.e., household wealth, educational attainment, and healthcare utilization), highlighting the vital role of accessibility in the pursuit of sustainable development worldwide. Beyond the socioeconomic and health domains, this work could be used to inform environmental and conservation efforts to balance infrastructure demands with ecosystem preservation. | Global | EPSG:4326 - WGS 84 - Geographic | 2018-01-18 |  |  | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ | D.J. Weiss, A. Nelson, H.S. Gibson, W. Temperley, S. Peedell, A. Lieber, M. Hancher, E. Poyart, S. Belchior, N. Fullman, B. Mappin, U. Dalrymple, J. Rozier, T.C.D. Lucas, R.E. Howes, L.S. Tusting, S.Y. Kang, E. Cameron, D. Bisanzio, K.E. Battle, S. Bhatt, and P.W. Gething. A global map of travel time to cities to assess inequalities in accessibility in 2015. (2018). Nature. doi:10.1038/nature25181. | travel time; GIS
23 | Elevation | Raster | meters | 0.00083 deg | Filled Digital Elevation Model (DEM) maps are used in a number of processes in the analysis (Energy potentials, restriction zones, grid extension suitability map etc.). |  | CGIAR-CSI | 2008 | Available |  |  | http://www.cgiar-csi.org/data |  | Land cover |  | Database v4.1 | Global | EPSG:4326 - WGS 84 - Geographic | 2008 | [5 empty] | Jarvis, A., H.I. Reuter, A. Nelson, E. Guevara, 2008, Hole-filled SRTM for the globe Version 4, available from the CGIAR-CSI SRTM 90m Database (http://srtm.csi.cgiar.org). | DEM; elevation map
24 | Land cover | Raster | 0-16, 254, 255 | 0.00467 deg | Land cover maps are used in a number of processes in the analysis (Energy potentials, restriction zones, grid extension suitability map etc.). Currently the land cover map used is divided into 17 classes. The classes are described in http://glcf.umd.edu/data/lc/. If this land cover map is replaced the land cover classification in OnSSET has to be altered. It is therefore advantageous if any land cover map that is used is classified similarly to the one described above. |  | GLCF | 2010 | Available |  |  | http://glcf.umd.edu/data/lc/ |  | Land cover |  | Global Mosaics of the standard MODIS land cover type data product (MCD12Q1) in the IGBP Land Cover Type Classification are reprojected into geographic coordinates of latitude and longitude on the WGS 1984 coordinate reference system (EPSG: 4326). The data set boundaries are -180.0° <= longitude <= 180.0°; -64.0° <= latitude <= 84.0°. The data are organized as an array of values uniformly spaced across latitude and longitude with the indexed as [0, 0] at 84.0° latitude, -180.0° longitude. Spatially aggregated data for each year in the period 2001–2012 are available at two spatial resolutions: 5' x 5' resolution comprising 1776 rows x 4320 columns at a geographic pixel size of approximately 0.083333°; and 0.5° x 0.5° resolution comprising 296 rows x 720 columns of 0.5° pixels. The global land cover data sets are available as GeoTIFF format files (*.tif) with embedded metadata or as ESRI ASCII Grid format files (*.asc) with limited metadata in header lines. Native resolution data in the GLCF tile framework are available as GeoTIFF format files (*.tif). | Global | EPSG:4326 - WGS 84 - Geographic | 2010 | [5 empty] | Data set development attribution: Channan, S., K. Collins, and W. R. Emanuel. 2014. Global mosaics of the standard MODIS land cover type data. University of Maryland and the Pacific Northwest National Laboratory, College Park, Maryland, USA. and MODIS standard data product attribution: Friedl, M.A., D. Sulla-Menashe, B. Tan, A. Schneider, N. Ramankutty, A. Sibley and X. Huang (2010), MODIS Collection 5 global land cover: Algorithm refinements and characterization of new datasets, 2001-2012, Collection 5.1 IGBP Land Cover, Boston University, Boston, MA, USA. | Land cover; MODIS
25 | Slope | Raster | degrees | 0.00083 deg | A sub product of DEM. The slope map visualizes the terrain slope in degrees. Any slope map that is to be used has to provide the slope in degrees. |  | KTH desa | 2017 | Available | Processed | KTH dESA |  |  | Land cover |  |  | Africa | EPSG:4326 - WGS 84 - Geographic | 2017 |  |  | Open | Creative Commons Attribution 4.0 | https://creativecommons.org/licenses/by/4.0/ |  | slope; elevation; Africa
26 | Nighttime Lights (NTL) | Raster | nW cm^-2 sr^-1 | 0.00417 deg | Nighttime light maps showing light pollution. The map shows stable light source wiht the unit nW cm^−2 sr^−1. Available on a yearly basis and monhtly basis. The monthly data is not cleaned of noise and outliers while the yearly one is. Latest yearly dataset is from 2016 |  |  | 2016 | Available
[1] Available: Dataset exists and ready for the analysis, Partially available: Dataset exists, but with uncertain quality (needs to be updated before used), Potentially available: Depending on resource availability dataset can be ready for some countries, Not available: Dataset does not currently exist; efforts exist but probability of availability in the few next months is low.
3. Add other GIS input data that are used for Geospatial Electrification Analysis

## Non-GIS Inputs
Non-GIS Input Data for Geospatial Electrification Analysis | [10 empty] | 2. Provide your feedback on the Non-GIS Input data & the list of metadata fields proposed
Instructions
1. Review the non-GIS input data below, the standards (data type, units) and the metadata used to describe each dataset
2. Provide your feedback on the Non-GIS Input data & the list of metadata fields proposed
3. Add other non-GIS Input data that are used for Geospatial Electrification Analysis
|  | Standards |  | Metadata | [6 empty] | Do you use or collect this dataset for geospatial electrification analysis? | Does this metadata definition make sense? | If no, can you suggest data type, units, resolution for this dataset? | Can you propose other or additonal metadata fields?
# | Dataset | Data Type | Units | Description | Value | Geographic coverage | Author | Year | Availability | Citation
Description of general parameters
| Country | String | - | The official name of the country. Capital first letter
| Country code | String | - | Official country code as per ISO 3166-1 alpha-2
| Start year | Integer | year | The year to be used as starting point of the analysis (Base year). All input data should be allighed to this year
| End year | Integer | year | The final year of the analysis defining the modelling period
| Discount Rate | Float | Percentage (8% used) | Rate used for discounting bills of exchange
| Settlement Area | Float | square kilometers (km2) | Size of the settlement. This can be dynamic, in case a cluste based approach is adopted or static, in case a grid cell approach is adopted.
Description of Off Grid Technology Parameters - to be separately specified for however many technologies are considered
| Plant Capacity | Float | Kilowatts (kW) | Size of plant
| Investment Cost | Float | USD/Kilowatts ($/kW) | Cost per unit of installed capacity
| Operation and Maintenance Cost | Float | Percentage | Percentage of Investment Cost per Year
| Capacity Factor | Float | Ratio (0-1) | Ratio of actual electrical energy output over a given period of time to the maximum possible electrical energy output over that time
| Expected Lifetime of Technology | Float | Years | Average predicted lifespan for the technology
| Base to Peak ratio | Float | Ratio (0-1) | Ratio used to estimate peak load and therefore sizing of capacity necessary to cover peak load.
| Fuel Price | Float | USD($) per liter | Average price of fuel in the study area (specify for all applicable technologies)
Description of Grid based Generation Parameters
| Grid Electricity Generation Cost | Float | USD/kWh | Expected average levelized cost of generating electricity for all power plants supplying rid electricity by the end year
| Grid Generation Capacity Cost | Float | USD/kW | Relative cost per capacity, weighted average value of mix of power plants on grid
| Expected Lifetime of Technology | Float | Years | Expected lifespan, weighted average value of mix of power plants on grid
| Grid Extension Limit | Float | Kilometers | Maximum distance of MV lines expansion
| Capacity Factor | Float | Ratio (0-1) | Ratio of actual electrical energy output over a given period of time to the maximum possible electrical energy output over that time
| Grid Penalty Ratio | Float | Ratio (0-1) | Obtained for each point depending on land cover, elevation, slope distance to roads and substations
| Grid Extension Cost Ratio | Float | Percentage | Percentage increase in cost transmission lines in every electrification loop; Set at 10%; used to represent line reinforsement.
| Grid capacity ramp up limit | Float | MW | Limit of additional grid based capacity that can be installed in the country in the defined timesteps
| Base to Peak ratio | Float | Ratio (0-1) | Ratio used to estimate peak load and therefore sizing of capacity necessary to cover peak load.
Description of Transmission and Distribution Parameters
| Expected Lifetime | Float | Years | Lifespan of transmission and distribution line
| HV line cost (108 kv) | Float | USD/Kilometer | Cost of 108 kv per kilometer
| HV line cost (69 kv) | Float | USD/Kilometer | Cost of 69 kv per kilometer
| MV line cost (33 kv) | Float | USD/Kilometer | Cost of 33 kv per kilomters
| MV line cost (11 kv) | Float | USD/Kilometer | Cost of 33 kv per kilomters
| LV line cost (.4 kv) | Float | USD/Kilometer | Cost of .2 kv per kilometers
| LV line cost (.2 kv) | Float | USD/Kilometer | Cost of .2 kv per kilometers
| HV to MV substation (1000 kVA) | Float | USD/unit | Cost of substation per unit
| MV to MV substation (400 kVA) | Float | USD/unit | Cost of substation per unit
| Service transformer (50 kVA) | Float | USD/unit | Cost of substation per unit
| Max LV line length | Float | km | Maximum span of a single MV line (e.g. 0.5 km)
| Load moment | Integer | kW m | Used in LV line dimensioning process. An indicative value for a 50 mm aluminum conductor under 5% voltage drop is 9643 kW m
| Maximun demand nodes served per transformer | Integer | nodes | Maximum number of demand nodes to be served by service transformer
| Additional Connection cost per household connected to the grid | Float | USD/Household | Additional Connection cost per household connected to the grid
| Additional Connection cost per household connected to the minigrid | Float | USD/Household | Additional Connection cost per household connected to the minigrid
| Transmission and Distribution Losses | Float | Percentage | Percentage of Total transmission and distribution losses per year
| Operation and Maintenences costs of distribution | Float | Percentage | Percentage of total capital spend on O&M each year
| MV line maximum reach (extension limit) | Float | Kilometer | Maximum reach of MV line
| Power factor | Float | - | The ratio of the active power P (kW) to the apparent power S (kVA) and is used in sizing of transformers. | 0.9
Socio-economic Parameters
| Population, start year | Integer | People | Population at the beginning of the study
| Population, end year | Integer | People | Predicted population at the end fo the study
| Urban share, start year | Float | Percentage | Percentage of total population represented in urban communities, start of study
| Urban share, end year | Float | Percentage | Percentage of total population represented in urban communities, end of study
| Number of people/house (urban) | Float | People/household | Average household size in urban populations
| Number of people/house (rural) | Float | People/household | Average household size in rural populations
| Current National Electrification Rate | Float | Percentage | Percentage of electrified people in the country
| Current National Electrification Rate Rural | Float | Percentage | Percentage of rural electrified population in the country
| Current National Electrification Rate Urban | Float | Percentage | Percentage of urban electrifiedpopulation in the country
Calibration parameters
| Urban cut off value | Integer | people | Number of people above which a setlement can be considered Urban
| Urban ratio modelled | Float | Percentage | Urban ration identified by the model; used to crossvalicate the modelling approach
| Minimum night light value | Integer | (0-64) | Value that implies electrificatio activity; above this the settlement might be considered potentially electrified
| Minimum distance to service transformers | Float | km | Value that implies electrificatio activity; below this the settlement might be considered potentially electrified
| Maximum distance to roads | Float | km | Value that implies electrificatio activity; below this the settlement might be considered potentially electrified
| Maximum distance to the grid network | Float | km | Value that implies electrificatio activity; below this the settlement might be considered potentially electrified
| Population cut off value | Integer | people | Value that implies electrificatio activity; above this the settlement might be considered potentially electrified
| Electrification rate modelled | Float | Percentage | National electrification rate identified after modelling process; used to crossvalicate the modelling approach
| Urban electrification rate modelled | Float | Percentage | Urban electrification rate identified after modelling process; used to crossvalicate the modelling approach
| Rural electrification rate modelled | Float | Percentage | Rural electrification rate identified after modelling process; used to crossvalicate the modelling approach
3. Add other non-GIS input data that are used for Geospatial Electrification Analysis

## Main Outputs
Main Output Data of Geospatial Electrification Analysis | [23 empty] | 2. Provide your feedback on the list of Output data and the list of metadata field proposed
Instructions
1. Review the main output data below, the standards (data type, units) and the metadata used to describe each dataset
2. Provide your feedback on the list of Output data and the list of metadata field proposed
3. Add other output data that result from Geospatial Electrification Analysis
| Standards |  |  | Metadata | [19 empty] | Is this an output dataset of the geospatial electrificationanalysis you carry out? | Does this metadata definition make sense? | If no, can you suggest data type, units, resolution for this dataset? | Can you propose other or additonal metadata fields?
Dataset | Data Type | Units | Spatial Resolution | Description | Author | Year | Availability | Responsible Party | Learn More Link | Download from Source | Category | Cautions | Supplementary Info | Geographic Coverage | CRS of Original File | Date of Publication | Date of Content | Frequency of Updates | Summary of License (Open, Closed, Limited) | License Type (if available) | Link to License | Citation | Tags
Total Population connected to Grid | Integer | people | Same as population clusters | Total Population connected to the main Grid network (this output is availalble in step year and end year of the analysis)
Total Population connected to Stand Alone Diesel | Integer | people | Same as population clusters | Total Population connected to Stand Alone Diesel (this output is availalble in step year and end year of the analysis)
Total Population connected to Stand Alone PV | Integer | people | Same as population clusters | Total Population connected to Stand Alone PV (this output is availalble in step year and end year of the analysis)
Total Population connected to Mini Grid Diesel | Integer | people | Same as population clusters | Total Population connected to Mini Grid Diesel (this output is availalble in step year and end year of the analysis)
Total Population connected to Mini Grid PV | Integer | people | Same as population clusters | Total Population connected to Mini Grid PV (this output is availalble in step year and end year of the analysis)
Total Population connected to Mini Grid Wind | Integer | people | Same as population clusters | Total Population connected to Mini Grid Wind (this output is availalble in step year and end year of the analysis)
Total Population connected to Mini Grid Hydro | Integer | people | Same as population clusters | Total Population connected to Mini Grid Hydro (this output is availalble in step year and end year of the analysis)
Population that gains access through Grid | Integer | people | Same as population clusters | Population that gains access through Grid (this output is availalble in step year and end year of the analysis)
Population that gains access through Stand Alone Diesel | Integer | people | Same as population clusters | Population that gains access through Stand Alone Diesel (this output is availalble in step year and end year of the analysis)
Population that gains access through Stand Alone PV | Integer | people | Same as population clusters | Population that gains access through Stand Alone PV (this output is availalble in step year and end year of the analysis)
Population that gains access through Mini Grid Diesel | Integer | people | Same as population clusters | Population that gains access through Mini Grid Diesel (this output is availalble in step year and end year of the analysis)
Population that gains access through Mini Grid PV | Integer | people | Same as population clusters | Population that gains access through Mini Grid PV (this output is availalble in step year and end year of the analysis)
Population that gains access through Mini Grid Wind | Integer | people | Same as population clusters | Population that gains access through Mini Grid Wind (this output is availalble in step year and end year of the analysis)
Population that gains access through Mini Grid Hydro | Integer | people | Same as population clusters | Population that gains access through Mini Grid Hydro (this output is availalble in step year and end year of the analysis)
Added Capacity to the Grid | Float | kW | Same as population clusters | Added Capacity to the Grid (this output is availalble in step year and end year of the analysis)
Added Capacity - Stand Alone Diesel | Float | kW | Same as population clusters | Added Capacity - Stand Alone Diesel (this output is availalble in step year and end year of the analysis)
Added Capacity - Stand Alone PV | Float | kW | Same as population clusters | Added Capacity - Stand Alone PV (this output is availalble in step year and end year of the analysis)
Added Capacity - Mini Grid Diesel | Float | kW | Same as population clusters | Added Capacity - Mini Grid Diesel (this output is availalble in step year and end year of the analysis)
Added Capacity - Mini Grid PV | Float | kW | Same as population clusters | Added Capacity - Mini Grid PV (this output is availalble in step year and end year of the analysis)
Added Capacity - Mini Grid Wind | Float | kW | Same as population clusters | Added Capacity - Mini Grid Wind (this output is availalble in step year and end year of the analysis)
Added Capacity - Mini Grid Hydro | Float | kW | Same as population clusters | Added Capacity - Mini Grid Hydro ((this output is availalble in step year and end year of the analysis)
Investment required to extend the grid | Float | USD | Same as population clusters | Investment required to extend the grid (this output is availalble in step year and end year of the analysis)
Investment required - Stand Alone Diesel | Float | USD | Same as population clusters | Investment required - Stand Alone Diesel (this output is availalble in step year and end year of the analysis)
Investment required - Stand Alone PV | Float | USD | Same as population clusters | Investment required - Stand Alone PV (this output is availalble in step year and end year of the analysis)
Investment required - Mini Grid Diesel | Float | USD | Same as population clusters | Investment required - Mini Grid Diesel (this output is availalble in step year and end year of the analysis)
Investment required - Mini Grid PV | Float | USD | Same as population clusters | Investment required - Mini Grid PV (this output is availalble in step year and end year of the analysis)
Investment required - Mini Grid Wind | Float | USD | Same as population clusters | Investment required - Mini Grid Wind (this output is availalble in step year and end year of the analysis)
Investment required - Mini Grid Hydro | Float | USD | Same as population clusters | Investment required - Mini Grid Hydro (this output is availalble in step year and end year of the analysis)
3. Add other output data that result from Geospatial Electrification Analysis
km of HV lines | Float | km | Same as population clusters | Self explanatory
Cost of HV lines | Float | USD | Same as population clusters | Self explanatory
km of MV lines | Float | km | Same as population clusters | Self explanatory
Cost of MV lines | Float | USD | Same as population clusters | Self explanatory
km of LV lines | Float | km | Same as population clusters | Self explanatory
Cost of LV lines | Float | USD | Same as population clusters | Self explanatory
Number of sub-stations (per type) | Integer | sub-stations | Same as population clusters | Self explanatory
Cost of sub-stations (per type) | Float | USD | Same as population clusters | Self explanatory
Number of transformers | Integer | transformers | Same as population clusters | Self explanatory
Cost of transformers | Float | USD | Same as population clusters | Self explanatory
Number of mini-grids (per type) | Integer | mini-grids | Same as population clusters | Self explanatory
Number of stand-alone systems (per type) | Integer | stand-alone | Same as population clusters | Self explanatory
Electricity demand | Float | kwh/year | Same as population clusters | Estimated electricity demand per sector e.g residential, industrial, public, commenrcial, agriculture etc. (if applicable)
Levelized cost of electricity (min-average-max) | Float | USD/kWh | Same as population clusters | Cost of generating alactricity. It can be the result of the least cost analysis but also raw values for all technologies before comparison
Electrificatio status | Float | % | Same as population clusters | Percentage of electrified population
Electrification investment cost per capita | Float | USD/capita | Same as population clusters | Estimated investment cost per capita in specified area (min, average, max)

## GEP Explorer - Input GIS Data (hidden)
# | Dataset | Author | Data Type | Resolution | Description | Year | Availability | Status | Responsibility | Download Link | Storage Link

## GEP Explorer - Output Data (hidden)
# | Dataset | Type | Description | Status[1]